Wiring Connections – Single Pilot

GREEN

RED

BLACK (Pilot)

B/W (Pilot)

BLACK

WHITE

B/W (Pilot)

RED

GREEN

BLACK

WHITE

Male Connector

Female Connector

Rear

Face

Face

BLACK (Pilot)

WHITE (Pilot)

WHITE (Pilot)

Rear

Why are pilot cores included?

Trailing and reeling cables pose an elevated safety risk (e.g. a damaged trailing cable can lead to earthing faults and workers being exposed to electric shock hazards). They require specific design mitigation measures, which are detailed in the Mine Safety and Inspection Regulations.

Pilot cores are provided to allow the customer to monitor for earth continuity.  This is typically done using an earth continuity protection relay to apply a low voltage DC signal between the pilot(s) and earth of the cable. By measuring this signal, the resistance of the circuit can be determined and protection operation initiated from a pre-tested value.  The variance is indicative of a break in the earth return path, and possibly the cable itself. The protection system should interface with the control system of the mobile equipment such that a healthy status indication from the pilot cable is required prior to start.

Mag100 1000V

LEVER ACTION

WIRING DIAGRAM

R

B

W

G

W

G

R

B

Male rear view (Single Pilot)

Female rear view (Single Pilot)

W-B

W-B

CSA

Certified

600V

(SMS Rated to 1000V)

RED

WHITE

BLACK

GREEN

Female face view

Male face view

WHITE (Pilot)

BLACK (Pilot)

W

R

W

B

B

G

WHITE (Pilot)

WHITE

BLACK (Pilot)

RED

GREEN

BLACK

R

B

W

W

G

B